Inner Cup Param Table

|  |  |  |
| --- | --- | --- |
| Radiation Unit Type | 8 | Integer 1-99999999 |
| Outer Cup Type | 4 | Integer 0-99  0 reserved for imaginary phantom outer cup  1: Small outer cup  2: Medium outer cup  3: Large outer cup |
| Inner Cup Type | L04 | US-ASCII alphanumeric string. Max length = 31 |
| Dinout: The distance between the inside bottom of the inner cup and the inside bottom of the outer cup | 52.22 | Always non-negative  Unit: mm |
| Path2D script for inside wall | newpath 0.00 -89.50  arcto 49.21 -70.32  71.61 -29.41  lineto 76.52 -1.53  closepath | In XY-plane of ICD-Coord.  Unit: mm |
| Path2D script for outside wall | newpath 0.00 -90.00  arcto 49.54 -70.69  72.10 -29.50  lineto 76.85 -2.53  closepath | In XY-plane of ICD-Coord.  Unit: mm |