Inner Cup Param Table

|  |  |  |
| --- | --- | --- |
| Radiation Unit Type | 8 | Integer 1-99999999 |
| Outer Cup Type | 2 | Integer 0-99  0 reserved for imaginary phantom outer cup  1: Small outer cup  2: Medium outer cup  3: Large outer cup |
| Inner Cup Type | M07 | US-ASCII alphanumeric string. Max length = 31 |
| Dinout: The distance between the inside bottom of the inner cup and the inside bottom of the outer cup | 35.720 | Always non-negative  Unit: mm |
| Origin of ICD Position | 0 -93 0 | In Solidworks-Coord. Unit: mm |
| Coordinate Type | 1 | The Coord System used for the flowing entires  1: ICD-Coord  2: Solidworks-Coord. |
| Path2D script for inside wall | newpath 0.000 0.000  arcto 34.008 12.378  52.104 43.720  lineto 60.669 92.293  closepath | In XY-plane of ICD-Coord.  Unit: mm |
| Path2D script for outside wall | newpath 0.000 -0.500  arcto 34.330 11.995  52.596 43.634  lineto 61.000 91.293  closepath | In XY-plane of ICD-Coord.  Unit: mm |