Outer Cup Param Table

|  |  |  |
| --- | --- | --- |
| Radiation Unit Type | 8 | Integer 1-99999999 |
| Outer Cup Type | 2 | 0 - imaginary phantom outer cup  1 - small  2 - medium  3 - large |
| D (mm)  The signed distance between the inside bottom of the outer cup and the COUCH REFERENCE POINT, in mm | 125.000 | Positive if the COUCH REFERENCE POINT is above the outer cup inside bottom, and negative otherwise. For imaginary phantom outer cup, D=0 |
| Origin of OCD Position | 0 -125 0 | In Solidworks-Coord. Unit: mm |
| Coordinate Type | 1 | The Coord System used for the following entries  1: OCD-Coord  2: Solidworks-Coord. |
| Path2D script for inside wall  newpath x y  arcto x1 y1 x2 y2  lineto x y  ellipseto x1 y1 x2 y2 x3 y3  closepath | newpath 0.000 0.000  arcto 30.711 11.102  47.224 39.276  lineto 61.120 114.251  lineto 62.337 118.792  closepath | In XY-plane of OCD-Coord  Unit: mm |
| Path2D script for outside wall  newpath x y  arcto x1 y1 x2 y2  lineto x y  ellipseto x1 y1 x2 y2 x3 y3  closepath | newpath 0.000 -2.000  arcto 31.484 9.149  48.935 37.627  lineto 65.381 115.000  lineto 81.381 115.000  lineto 86.000 123.000  lineto 88.000 123.000  lineto 88.000 125.000  closepath | In XY-plane of OCD-Coord  Unit: mm |
| 3D fiducial curve script  newfc  newfcsegment x y z  lineto x y z  arcto x1 y1 z1 x2 y2 z2  spiralto n x1 y1 z1 x2 y2 z2 … xn yn zn  closefcsegment  closefc | newfc  newfcsegment 4.22662041918713E-14 125 69.084852847664  lineto 3.41213159782331E-13 123.743611585302 68.6522436234727  lineto 6.12703653200208E-12 122.026711843829 68.0610676333618  lineto 5.99942501335915E-11 120.127721496379 67.4071928205568  lineto 1.6883129051574E-09 118.148436908094 66.7256705183028  lineto 3.64922367187532E-08 116.146734468654 66.0364298653814  lineto 5.15589756394042E-07 114.28945332734 65.3969272901147  lineto -2.45313645760791E-06 112.242031031126 64.6918775291763  lineto 1.08409767281341E-05 110.513886903034 64.09712412088  lineto -6.0616588425816E-05 109.127585537369 63.6182001932696  lineto 2.10765068560486E-04 107.725531763191 63.1414428163485  lineto -5.40277534940947E-04 106.634620412309 62.7491836571076  lineto -4.09696328805766E-04 105.609795105432 62.3991991033499  lineto 3.85759146505737E-03 104.776905438074 62.1942958206709  lineto 0.019963935641885 103.709636266424 61.9861593603273  lineto 5.67341903999363E-02 102.534607766399 61.7363782376694  lineto 0.110549814712461 101.388032760707 61.4890388056462  lineto 0.186352207951882 100.172099648571 61.2320369032187  lineto 0.283936865145525 98.9358152662848 60.9689318053768  lineto 0.460086155909253 97.1615278923204 60.5903176486658  lineto 0.749101202549351 94.8822467824765 60.1029464610406  lineto 1.00163851874876 93.2395016426247 59.7500168981615  lineto 1.37991908340903 91.1352683322369 59.2952921114196  lineto 1.68721283611482 89.6371982600607 58.9687761565124  lineto 2.05393553480795 88.0240862573219 58.6139226813788  lineto 2.48820906573749 86.2976548944763 58.2298028781275  lineto 2.90341053502144 84.7900219064441 57.8898443908076  lineto 3.33988523893859 83.3240791294114 57.5543291423403  lineto 3.88459933906945 81.6318900251064 57.1597097351183  lineto 4.4393634436266 80.035766835088 56.7789675511223  lineto 4.98958825776561 78.55729941313 56.4176663757015  lineto 5.55020788884771 77.1412221196757 56.0626911347825  lineto 6.35380998600451 75.245045967463 55.571562041803  lineto 7.03908988347724 73.7335301170875 55.1651164893663  lineto 7.84523513234006 72.0608301970135 54.697172018028  lineto 8.58228670155482 70.617985753411 54.2758755639128  lineto 9.38664412364452 69.1257341607804 53.8205722570752  lineto 10.1636174762115 67.7566046837903 53.383043174681  lineto 10.8631285146651 66.5785036820663 52.9895296193762  lineto 11.5940698383612 65.3974918860116 52.5774161146958  lineto 12.4865773241242 64.0183705511992 52.0712271429563  lineto 13.3991486478522 62.6734141361249 51.5485294461768  lineto 14.3105006388343 61.390493283967 51.0198247599992  lineto 15.4193660808204 59.902661653969 50.3651431382249  lineto 16.4112764436051 58.6321435345694 49.7664308910567  lineto 17.5555275760194 57.2375213360887 49.0594933395866  lineto 18.5014254200089 56.1398637925172 48.46098668189  lineto 19.3620844882806 55.1690804787256 47.9012802082111  lineto 20.2350814398175 54.197132431089 47.3144417503077  lineto 21.2539268932029 53.0625501686949 46.6004492672298  lineto 22.1915460342394 52.0026073286965 45.9112479421512  lineto 23.1035339759416 50.943951261003 45.206752711249  lineto 23.951276424775 49.9342517161072 44.5198932139803  lineto 24.8048310939576 48.8945358216836 43.7961683478425  lineto 25.7846110365539 47.6719820000694 42.9236530517907  lineto 26.5333890232181 46.7131373773302 42.2244134301553  lineto 27.1833174131321 45.8611004098948 41.5929145977208  lineto 28.0627658672786 44.6770433890028 40.6995882144456  lineto 28.824153690956 43.6214898787361 39.8876342262246  lineto 29.5089925584241 42.6454272844045 39.1241333292135  lineto 30.2430862660953 41.5672857043064 38.2674484513426  lineto 30.9545165493702 40.4867619015971 37.3958172187811  lineto 31.6306087378865 39.4250276396728 36.5281651629558  lineto 32.2397358853709 38.4373374589868 35.7120519643041  lineto 32.8511846129836 37.407706517722 34.8489315007139  lineto 33.5443689333571 36.1749629535785 33.7922232858708  lineto 34.1090621820126 35.0941356857448 32.8396434026774  lineto 34.6187163867373 34.0318448764329 31.8769842015261  lineto 35.0677861334869 33.0041190023606 30.9224797998384  lineto 35.5152794800067 31.8621617533345 29.8379065016161  lineto 35.9655549694223 30.5344150625737 28.5483762452522  lineto 36.2732833055593 29.4572242308809 27.4816158596643  lineto 36.5151692788232 28.4378191580769 26.4567964327495  lineto 36.6972121643763 27.4806961714574 25.4827196533011  lineto 36.86153443403 26.2831456486286 24.2501317684589  lineto 36.9497677807101 25.1613887370507 23.0836717089301  lineto 36.9731816089896 24.0940512519415 21.9648641137212  lineto 36.9299554489918 22.9411600577076 20.7490316378734  lineto 36.8385626656281 21.9886290696574 19.7409731837869  lineto 36.6872458722724 20.9929235835642 18.6859173909068  lineto 36.4578239358046 19.9165150959215 17.545890059083  lineto 36.1479294602686 18.8077067060367 16.3744153760497  lineto 35.8189625446457 17.852271911934 15.369226929766  lineto 35.4471730359382 16.9352817066675 14.4098443889518  lineto 35.0026156745044 15.9869402456941 13.4250169580692  lineto 34.5123895006034 15.0698834960223 12.4819137760704  lineto 33.8508869778905 13.9826101701342 11.3784798781166  lineto 33.0964879022328 12.8930596805204 10.2911791218266  lineto 32.3967022596842 11.9884219157012 9.40420832597329  lineto 31.7124726859571 11.1808747635446 8.62628292616887  lineto 30.926632608542 10.3295145608346 7.82253424624784  lineto 29.9990568677031 9.41048463835445 6.97642495849803  lineto 29.1398502080027 8.62804349449615 6.27538481415091  lineto 28.1897362845278 7.82792579882541 5.5786857282061  lineto 27.126031505301 7.00167833737568 4.88244544042996  lineto 26.0208610756052 6.21039715374415 4.23944951282316  lineto 24.8729676088637 5.45199596633659 3.64711927311631  lineto 23.7569389219404 4.76985445435064 3.13718254297017  lineto 22.4367070138963 4.02609532961976 2.60971322555834  lineto 21.0635079560917 3.31796040772772 2.13514354893596  lineto 19.7164945540092 2.68213460288999 1.72868534233857  lineto 18.5783192643136 2.18711583209348 1.42732818480689  lineto 17.0454792777365 1.57822018581502 1.09309625499569  lineto 15.6580681089319 1.08132307507577 0.873420406674425  lineto 14.5681535136673 0.725480103775364 0.771900231454579  lineto 13.379259716422 0.370903575696108 0.751980057744962  lineto 12.5653008053478 0.147868314892899 0.796350877636991  lineto 11.9281832861704 -1.56836980011177E-02 0.863141069746834  lineto 11.2611722736792 -0.176522519128725 0.962897762056247  lineto 10.4132370079553 -0.365464914999114 1.13390529562716  lineto 9.64064599926546 -0.522186247153306 1.3341227446195  lineto 9.01950053377291 -0.637193243694212 1.52726831426922  lineto 8.33941718940672 -0.751424251936306 1.77348124138441  lineto 7.68675995955582 -0.849042279443324 2.04584627817024  lineto 6.9061780050923 -0.949502511148698 2.42087376749622  lineto 6.23030486482208 -1.02115415797951 2.79224866698631  lineto 5.40174181986555 -1.08777339988878 3.31250662212846  lineto 4.71698790674185 -1.12328424284108 3.80269444400687  lineto 4.18026177317541 -1.13718665983742 4.23008974972695  lineto 3.68988476142085 -1.13780290540505 4.65817482986643  lineto 3.15798358295653 -1.12373422017786 5.16803852785556  lineto 2.58137706896092 -1.08860674627254 5.78130250917671  lineto 2.0848197833928 -1.03893853554979 6.36772388642408  lineto 1.65251058466389 -0.978293996571927 6.92999730046825  lineto 1.15536017848715 -0.883839809010689 7.65146285735582  lineto 0.771882098651943 -0.787726887780893 8.28029636883985  lineto 0.450413491755581 -0.686105454362956 8.87440429317498  lineto 0.120500239110285 -0.553571875604897 9.57560437258194  lineto -0.191117384692599 -0.39011782202808 10.3602652719051  lineto -0.429062463344706 -0.232195377218969 11.05738115451  lineto -0.625475834691333 -7.60422100750391E-02 11.7012402308992  lineto -0.838873837154973 0.121319509736123 12.4628399203894  lineto -1.00709278343958 0.294865519228527 13.0921995006856  lineto -1.19050804764451 0.497126213093571 13.7852009672048  lineto -1.36449370710769 0.69555170011841 14.4282456603718  lineto -1.53974235936905 0.895688472042883 15.0442706408328  lineto -1.71989139177707 1.09661014030642 15.6331879058185  lineto -1.88264851212421 1.27120705428158 16.1230069193677  lineto -2.06410874660009 1.45677827486686 16.6229373892268  lineto -2.3029181823483 1.68839222348899 17.2194403868329  lineto -2.58014832523735 1.94388145583736 17.8452557433218  lineto -2.80764660710299 2.14536213194907 18.3169967796406  lineto -3.14346669248029 2.43243191318918 18.9587101661407  lineto -3.48276792504507 2.7126954699723 19.5533979353953  lineto -3.85352491875666 3.01024529210148 20.1530894375121  lineto -4.16712943121999 3.25623851565801 20.6259306735384  lineto -4.51769975365148 3.52584116836542 21.1218254793943  lineto -5.00048140225945 3.88869283129029 21.7546750343221  lineto -5.44297403632876 4.21348416621191 22.2895281390152  lineto -5.86515929157016 4.51703438152952 22.7638787364186  lineto -6.320420723322 4.83795342189464 23.2397724781705  lineto -6.74381325897859 5.13082980635839 23.6519949177627  lineto -7.20116378421667 5.44152988778913 24.0670303502401  lineto -7.66260387384385 5.74956034708654 24.4566377965944  lineto -8.17997522375685 6.08920966211951 24.8619973496199  lineto -8.78815721485856 6.48172814026665 25.300022147309  lineto -9.44156391504095 6.89639093427755 25.72867676205  lineto -10.097271155536 7.30617082322396 26.119115568995  lineto -10.6462020184361 7.64494641599694 26.4177510142069  lineto -11.2503804228362 8.01381803852449 26.7187206412681  lineto -11.797100042879 8.34435515887692 26.967475272145  lineto -12.3827460563035 8.69533696402375 27.2104033011737  lineto -13.0056763845348 9.06550120626175 27.4433709738204  lineto -13.7389560171034 9.49750881443137 27.6856207236594  lineto -14.3834961211606 9.87428362292179 27.8712610372293  lineto -15.1826842307062 10.3381777516469 28.0677406276623  lineto -15.8239281936487 10.7081688068556 28.1996051042356  lineto -16.4468100018501 11.0659860272486 28.3065680008448  lineto -17.1535342517644 11.470420167298 28.4035353957279  lineto -17.8585283248159 11.8725766283477 28.4751754583296  lineto -18.5203005936683 12.2492193919549 28.5201874479281  lineto -19.1369725602439 12.599692137863 28.5431445363852  lineto -19.7114898211878 12.9259552891121 28.5483483826873  lineto -20.3058569807586 13.2634113520515 28.5375537395826  lineto -20.9002907651956 13.6010008873831 28.510511273573  lineto -21.5348761352381 13.9617016731995 28.4639018865151  lineto -22.0397358573614 14.2490374845705 28.4138368791894  lineto -22.7517529189523 14.6550708844865 28.3237819314175  lineto -23.3486793587589 14.9964052122061 28.2307944895173  lineto -24.0156729087064 15.3790498740349 28.1080244360827  lineto -24.5404978648399 15.681199043561 27.9973942898514  lineto -25.1633278020172 16.0411558189073 27.8500075753592  lineto -25.8189637930058 16.4219022273687 27.6758616637569  lineto -26.3202159879605 16.7144074280066 27.5294713375569  lineto -26.8484543759093 17.0241250994848 27.3626501134637  lineto -27.4117427603784 17.3562063914681 27.1704117508414  lineto -28.0671804599704 17.7452026851212 26.9278465100506  lineto -28.6357148630694 18.0850981877677 26.7007675511802  lineto -29.2293962202169 18.4427205761081 26.4468374825364  lineto -29.7995720013473 18.789009519135 26.1865033458972  lineto -30.3593885315616 19.1319427236126 25.9148886172753  lineto -30.8888733742273 19.4592025206814 25.6430684746381  lineto -31.5575262401324 19.8768866734119 25.2785290166978  lineto -32.1667768538655 20.2621314639508 24.9250790528955  lineto -32.663400623486 20.5797155813959 24.6214714750014  lineto -33.1786432007683 20.9128307473929 24.2913108748567  lineto -33.6138525984735 21.1972709622548 24.0000377219252  lineto -34.1351520978338 21.5419334394507 23.6357149053715  lineto -34.5770685191278 21.8377169404676 23.3132594488236  lineto -35.0220419574576 22.1391226273631 22.9755035012234  lineto -35.500761296316 22.4676628665366 22.5969537233332  lineto -36.0114097491764 22.823351776213 22.1751081225473  lineto -36.52066168043 23.183868212529 21.7350176002864  lineto -36.9789404586881 23.5136432531998 21.3216196482294  lineto -37.4248817246274 23.8397827430662 20.9027863859852  lineto -37.8296828258512 24.14065016948 20.5077541600037  lineto -38.2398260604328 24.4505123232201 20.0923871521384  lineto -38.6098518602941 24.7347067342778 19.7039508175984  lineto -38.961575204342 25.009201925834 19.3220928101921  lineto -39.3646481837747 25.3293619067635 18.8685618889231  lineto -39.7008904088572 25.6013301612215 18.4765279094238  lineto -40.080916094236 25.9144769225764 18.0175791429264  lineto -40.4692318422014 26.2412716588087 17.5301720965663  lineto -40.8127430257422 26.5365798081212 17.0824584535866  lineto -41.0943142582302 26.7833344875078 16.7031807977399  lineto -41.4071081423387 27.0627850448945 16.2680816553782  lineto -41.7147972007776 27.3435692714541 15.8250842822191  lineto -42.0056544077513 27.6148010747199 15.3917485255495  lineto -42.3437583138779 27.9378051241556 14.8689440167072  lineto -42.6638654447561 28.2519674060614 14.3535866971886  lineto -42.9172170933156 28.5069070676626 13.9305183641225  lineto -43.1983175796685 28.7968765014439 13.4441446469704  lineto -43.4154203971734 29.0263821761316 13.0553666940847  lineto -43.6901628538112 29.3244043538274 12.5455991735948  lineto -43.9576332264155 29.6234712995194 12.028585915476  lineto -44.2145159523069 29.9199033355999 11.5108766107848  lineto -44.4742201813081 30.2297851087343 10.9642482593066  lineto -44.6984334807796 30.5064852533059 10.4715978967715  lineto -44.9050030935231 30.769769144349 9.99896117195717  lineto -45.1331425636822 31.0709315961482 9.45383303235777  lineto -45.3574877458354 31.3790439631525 8.89132204113513  lineto -45.5716583736825 31.685768367001 8.32668918247282  lineto -45.7727249957884 31.9865296142069 7.76868792843287  lineto -45.9896332669869 32.3270888411407 7.13186084257177  lineto -46.1807251506996 32.6433140061838 6.53599700945645  lineto -46.368040424777 32.9708144726005 5.91451595793656  lineto -46.5422753363107 33.29414005937 5.2968373270844  lineto -46.6946996381782 33.5948827732517 4.71884232068461  lineto -46.8621739946911 33.9490864215231 4.03410466393212  lineto -47.0429084435477 34.3671972502346 3.22069072468936  lineto -47.144904026796 34.624481848064 2.71761906249862  lineto -47.2529495584372 34.9189367057732 2.13969004301372  lineto -47.3496507134809 35.2067400720861 1.5726993314535  lineto -47.457248385153 35.5627490961246 0.868613126004111  lineto -47.5359340476182 35.8556499398045 0.287216497201579  lineto -47.6096144673198 36.1654135592986 -0.329594281527144  lineto -47.6670273945247 36.4410061815354 -0.879929359960646  lineto -47.7214999775626 36.7445337909277 -1.48763178586202  lineto -47.7782209132208 37.134753369197 -2.27113365237864  lineto -47.8156514078535 37.4751660683643 -2.95647700866728  lineto -47.8429475619541 37.8302988924669 -3.67309924548967  lineto -47.8601227326746 38.2529848265907 -4.52798419569194  lineto -47.8623756654233 38.5614078275967 -5.15294623770797  lineto -47.8560735589276 38.8717489663001 -5.78266270420937  lineto -47.839110452021 39.2178775747828 -6.48587601056826  lineto -47.8104869027518 39.5790567329771 -7.22048115986528  lineto -47.7736765089094 39.917688252548 -7.90981683463427  lineto -47.7334741701524 40.214324405966 -8.51401406144447  lineto -47.687555622194 40.5007911911994 -9.09770958738209  lineto -47.6348028637732 40.7863704562173 -9.6797125592073  lineto -47.5922412910997 40.9931300052853 -10.1011040505585  lineto -47.5377891696775 41.2349356098184 -10.5938927656969  lineto -47.4761334352209 41.4850685717796 -11.103562994162  lineto -47.4084734326593 41.7372085063608 -11.617169026301  lineto -47.3366228889854 41.9848099868656 -12.1213191173371  lineto -47.2480856095036 42.2672550169252 -12.696082398059  lineto -47.1711269740175 42.4962843013923 -13.1618287021011  lineto -47.092276023613 42.7178421035678 -13.6120677941563  lineto -46.9623556482905 43.0591174388052 -14.304903383114  lineto -46.8199149059787 43.405720274364 -15.0075795770056  lineto -46.6822098165602 43.7187194969266 -15.6411697340401  lineto -46.3975587220903 44.3120773603654 -16.8393919536905  lineto -46.1198828029417 44.8372494743119 -17.896286307294  lineto -45.6813167540562 45.5875993761994 -19.3993477985913  lineto -45.1498460848203 46.4019643373545 -21.0195295446795  lineto -44.6143226663858 47.1455958220426 -22.4870265060719  lineto -43.9795132760584 47.9522457195896 -24.0639061797254  lineto -43.4085623947909 48.6237589030891 -25.3632926939718  lineto -42.6794264784694 49.4226767010424 -26.8918201237266  lineto -41.9208414181847 50.1976307828433 -28.3547638348116  lineto -41.146622700458 50.9405301421916 -29.7373820750697  lineto -40.3836966928019 51.6331713454081 -31.0077995867053  lineto -39.5013791587359 52.3931561323171 -32.3796998916128  lineto -38.6834288362685 53.0641249394201 -33.5706110383355  lineto -37.7634536067736 53.7857673632378 -34.8288940226989  lineto -36.7591410181597 54.5392350752628 -36.1161691279947  lineto -35.639209833473 55.343163025642 -37.4579383808287  lineto -34.5197941798964 56.1140291259379 -38.7117305367981  lineto -33.2606121110212 56.9481032644005 -40.0295675729879  lineto -32.0943485580465 57.6940121340479 -41.1718201430401  lineto -31.0556364115372 58.3387081256703 -42.1312295571769  lineto -30.0318447160107 58.955903670323 -43.027053393497  lineto -29.0095759814601 59.5538992923481 -43.8751732640434  lineto -28.1063725472456 60.067834606173 -44.588311499387  lineto -26.7796993582288 60.8112581937804 -45.5810371178349  lineto -25.6031778992827 61.4752444529057 -46.4134330965077  lineto -24.4713333117983 62.1319665164603 -47.1771583230115  lineto -23.3477452689717 62.8131345209484 -47.9043434679788  lineto -22.2962552632831 63.4876312226326 -48.5606238407867  lineto -21.1474951719879 64.2731234794135 -49.2535754958667  lineto -20.1504595605724 64.99694431507 -49.8357740662677  lineto -18.9253642589707 65.9409328112164 -50.5280180874534  lineto -17.7357493921442 66.9168711955395 -51.1772324249878  lineto -16.6489584955602 67.8626080005002 -51.7521504995364  lineto -15.371113075246 69.0468524931335 -52.4083562390318  lineto -14.3430053887546 70.0620627752926 -52.9227050081095  lineto -13.4364845711871 71.008300535044 -53.367590913368  lineto -12.1639968990602 72.4257074166268 -53.9808319907641  lineto -11.1990960078788 73.5772595987491 -54.4391439095883  lineto -10.0817063477771 75.0043117898245 -54.9655193043467  lineto -9.18219899039816 76.2356393914137 -55.3882592792253  lineto -8.22061072972779 77.6452661178962 -55.8420084584639  lineto -7.17327115290673 79.3084746623351 -56.3425984532726  lineto -6.38612638607103 80.6623993920438 -56.7269305993518  lineto -5.63024881735083 82.0625961971303 -57.1061050009276  lineto -4.66546573436785 84.0232357740301 -57.6111199023455  lineto -3.91345060248878 85.7213904026657 -58.0287220332328  lineto -3.16595298217685 87.6037844550456 -58.4747385320483  lineto -2.38292173179359 89.861416770641 -58.9920856888562  lineto -1.7896768888597 91.8549332127844 -59.4380906440608  lineto -1.28116123224359 93.8671083556193 -59.8779030722861  lineto -0.850939545081104 95.930381736649 -60.3203578131159  lineto -0.573611074136617 97.5601183766842 -60.6754129444864  lineto -0.373347846598044 99.0022416397238 -60.996600375038  lineto -0.143961641921312 101.30855496786 -61.4844636496238  lineto -5.65635881949318E-02 102.788874256549 -61.758392030736  lineto -3.4480595032488E-03 104.732850966001 -62.1744023189916  lineto 9.41534209373291E-04 106.210672733305 -62.6539926742682  lineto -4.07783942209846E-04 107.408769131603 -63.0756766671597  lineto 8.59958810034892E-05 108.309232538581 -63.3823840086724  lineto 1.71407395652817E-04 109.276670139928 -63.7149205291205  lineto -1.34708139036414E-05 110.445619353304 -64.1186752141703  lineto -1.12728706588549E-05 111.468527080739 -64.4708756918697  lineto 3.72696458968022E-06 113.302362065644 -65.1022140393788  lineto -7.43217226910813E-07 114.775956028897 -65.6096434327185  lineto -1.80083472189489E-07 116.979722989783 -66.3684574334183  lineto 5.38499437757323E-08 118.925315484007 -67.0383770676764  lineto -1.39103388471027E-08 120.454818619053 -67.5650276909967  lineto 3.05074871731578E-09 122.625753985115 -68.3125405692282  lineto 5.62694355572457E-13 125 -69.1300590535713  closefcsegment  closefc | In OCD-Coord.  Unit: mm |