Outer Cup Param Table

|  |  |  |
| --- | --- | --- |
| Radiation Unit Type | 8 | Integer 1-99999999 |
| Outer Cup Type | 1 | 0 - imaginary phantom outer cup  1 - small  2 - medium  3 - large |
| D (mm)  The signed distance between the inside bottom of the outer cup and the COUCH REFERENCE POINT, in mm | 101.000 | Positive if the COUCH REFERENCE POINT is above the outer cup inside bottom, and negative otherwise. For imaginary phantom outer cup, D=0 |
| Origin of OCD Position | 0 -101 0 | In Solidworks-Coord. Unit: mm |
| Coordinate Type | 1 | The Coord System used for the following entries  1: OCD-Coord  2: Solidworks-Coord. |
| Path2D script for inside wall  newpath x y  arcto x1 y1 x2 y2  lineto x y  ellipseto x1 y1 x2 y2 x3 y3  closepath | newpath 0.000 0.000  arcto 23.764 8.628  36.456 30.493  lineto 47.321 91.000  lineto 48.337 94.792  closepath | In XY-plane of OCD-Coord  Unit: mm |
| Path2D script for outside wall  newpath x y  arcto x1 y1 x2 y2  lineto x y  ellipseto x1 y1 x2 y2 x3 y3  closepath | newpath 0.000 -2.000  arcto 24.568 6.700  38.186 28.923  lineto 51.381 91.000  lineto 81.381 91.000  lineto 86.000 99.000  lineto 88.000 99.000  lineto 88.000 101.000  closepath | In XY-plane of OCD-Coord  Unit: mm |
| 3D fiducial curve script  newfc  newfcsegment x y z  lineto x y z  arcto x1 y1 z1 x2 y2 z2  spiralto n x1 y1 z1 x2 y2 z2 … xn yn zn  closefcsegment  closefc | newfc  newfcsegment 2.14133222972362E-12 101 54.8950166588698  lineto 1.29710770586166E-11 100.546791657474 54.7477603421868  lineto -1.70312961398835E-11 100.01499564341 54.5749693420008  lineto -6.238090649367E-11 99.5032420903076 54.408690531714  lineto 1.56781256010798E-11 98.9351638717901 54.224110731693  lineto 2.52382362506807E-10 98.3508459119212 54.0342543242713  lineto 4.1656353660301E-11 97.6538786326507 53.8077959217253  lineto -9.54109130427825E-10 97.0094333002538 53.598402912301  lineto -7.1977606753913E-10 96.4050728738428 53.4020343126724  lineto 1.52647289030752E-09 95.9458412309986 53.252820969447  lineto 3.84933374710996E-09 95.5228918012846 53.115396434028  lineto 2.45171206422075E-09 94.9948985517486 52.9438409887813  lineto -8.44212869002665E-09 94.4468629637119 52.7657731280568  lineto -1.73808592646249E-08 93.9074615541187 52.5905107365161  lineto -5.41081300227006E-09 93.3995104604985 52.4254677554333  lineto 3.22020484740069E-08 92.9402783366085 52.2762552426191  lineto 6.89861034024361E-08 92.3559601156193 52.0863997700089  lineto 2.92589087716848E-08 91.8766869023437 51.9306733547666  lineto -1.12518017665814E-07 91.3010045929149 51.7436188781465  lineto 1.21889177000723E-07 90.7529650730322 51.5655565836759  lineto 7.21760515960556E-07 90.1686403225541 51.3757146993825  lineto 1.93649603387399E-08 89.5929651338958 51.1886468954118  lineto -2.46964129531797E-06 89.0974800331166 51.0275845847879  lineto -4.98699897611282E-06 88.6220401444912 50.8730345674227  lineto -5.55151387850501E-06 88.1178927187695 50.70921138929  lineto -8.22484416982652E-07 87.5583964205848 50.5275519599085  lineto 7.76786798212869E-06 87.1391322243246 50.391564431706  lineto 2.15707803997896E-05 86.6033906677897 50.2178765431322  lineto 3.11396171654839E-05 86.1478366861896 50.0701250481819  lineto 3.43289381041262E-05 85.6961876156987 49.9234643500536  lineto 2.81596072690423E-05 85.2781042213008 49.787448698904  lineto 9.10732274310088E-06 84.8468261641764 49.6467864131628  lineto -1.92006611846504E-05 84.4805628060674 49.5269904537028  lineto -5.8481300933411E-05 84.041852686887 49.3833489823332  lineto -8.54636487494904E-05 83.5465884010952 49.2216750653069  lineto -7.65393023689518E-05 83.1760245233998 49.1015205481006  lineto -1.10627970496786E-05 82.7196431483916 48.9550600162944  lineto 1.03245173189535E-04 82.3188117612067 48.8280111462218  lineto 2.37528993728182E-04 81.8419045992287 48.6768010760194  lineto 2.63032227741987E-04 81.3991880538763 48.5336652796858  lineto 1.09295641175891E-04 80.9786450921215 48.392733404614  lineto -2.65267491109463E-04 80.5604691272489 48.2464096491792  lineto -4.81595025647041E-04 80.2116308737793 48.1270297860045  lineto -2.30220805123094E-04 79.877084443632 48.0253422926132  lineto 1.14491282272679E-03 79.4787665675335 47.9301800402295  lineto 4.76598693599891E-03 79.0776322909332 47.8502199869185  lineto 0.011300298482255 78.6963228995145 47.7721690467836  lineto 2.55157929622525E-02 78.1669159902902 47.6587337054877  lineto 4.14475501736775E-02 77.7333457677974 47.56429774237  lineto 7.16570484250202E-02 77.0947116057047 47.427122528639  lineto 9.90080558033149E-02 76.6249715751815 47.3275730142661  lineto 0.13193832936675 76.139178812507 47.2248897207022  lineto 0.17882267046511 75.5438349100667 47.0984504359531  lineto 0.225803391553911 75.0224106328763 46.9872280667312  lineto 0.277676883009525 74.5069014241587 46.8771041888007  lineto 0.339154822409894 73.9553129150826 46.7593075115169  lineto 0.39501515883844 73.4965043763917 46.6613041222438  lineto 0.462299021391335 72.9855507693479 46.5520416310045  lineto 0.545719140258784 72.401977615727 46.427038683018  lineto 0.627291014702502 71.8737900888697 46.3137350535314  lineto 0.700432074041373 71.4292578698931 46.2182753032374  lineto 0.806380952725244 70.8254788949655 46.0884056778397  lineto 0.91060428331931 70.2700715426384 45.9686076788741  lineto 1.00299508016839 69.8045100666591 45.8678581767279  lineto 1.10914764615344 69.2961426913724 45.7574438478705  lineto 1.2134029458164 68.8208116696475 45.653785164104  lineto 1.31006498541962 68.3986804017328 45.5613557422272  lineto 1.42884454277239 67.9015592886526 45.4520216600798  lineto 1.55255140443916 67.4062345070037 45.3425285081259  lineto 1.68021357330968 66.9162931351987 45.2336478458895  lineto 1.81488943634485 66.4202149855624 45.122784145864  lineto 1.95823609418404 65.9131303134864 45.008781119986  lineto 2.1455353944403 65.2794357401282 44.8652878912257  lineto 2.38716169830262 64.5041641684212 44.688018994128  lineto 2.61898299450071 63.7991397404364 44.5249561319602  lineto 2.826337860606 63.1966640661403 44.3840267847169  lineto 3.07135539899052 62.5150495322293 44.2226022936448  lineto 3.27929896313246 61.9596555089607 44.089345890557  lineto 3.56993444480514 61.2151315765888 43.9080219737163  lineto 3.85851225546873 60.5086754842526 43.7328379548425  lineto 4.11294077817368 59.9101319825179 43.5818196246021  lineto 4.470244530021 59.1041046365142 43.3743687682934  lineto 4.90873891207618 58.1640352473174 43.1258558598525  lineto 5.41105630475959 57.145511070965 42.8475516515299  lineto 5.90928028953023 56.1892513603723 42.5764838149764  lineto 6.48866533461303 55.1365055614276 42.2656073084793  lineto 7.01546774695866 54.2283333721918 41.9856713812409  lineto 7.54745025012363 53.3535394443024 41.7044131765997  lineto 8.2336555999785 52.2813929137259 41.3420371886575  lineto 8.80950282589349 51.425794351554 41.0371405531546  lineto 9.38278400327979 50.6102090488536 40.7319709343298  lineto 9.96436346953996 49.8166103025017 40.4199505089947  lineto 10.6600183169557 48.9086687413617 40.0424327240224  lineto 11.2229161899811 48.2045672867095 39.7327332443498  lineto 11.8571727250835 47.4409320216143 39.3784523118522  lineto 12.7750292534675 46.3890001716949 38.8550476329252  lineto 13.6406939257094 45.4451120731053 38.3469920128692  lineto 14.6644693094206 44.3362860088406 37.7141800685531  lineto 15.5117230695776 43.3945588198725 37.1569405880582  lineto 16.2107549866918 42.602007549055 36.6733360915026  lineto 17.1033741112015 41.567319106816 36.0224987242913  lineto 17.7999582355067 40.7410711777584 35.4869693341467  lineto 18.539693916821 39.8437193064801 34.8900920131898  lineto 19.303797248806 38.8923276651641 34.2411962658947  lineto 20.0610802049517 37.9221474000113 33.5632861565329  lineto 20.7353339152638 37.0337161526503 32.928226877789  lineto 21.4695735479523 36.0374275541167 32.2001362239364  lineto 22.2245941180539 34.977839514399 31.4081540663438  lineto 22.9341178995674 33.9452414324406 30.6199701386209  lineto 23.568620212682 32.9872752248211 29.8754307287119  lineto 24.2516375227375 31.9146277289768 29.0274943511214  lineto 24.8735684534091 30.8961736941881 28.2084681898503  lineto 25.5141816729635 29.7996927888008 27.3120410951223  lineto 26.3012377440031 28.3719428226983 26.1245345099341  lineto 27.0485924318745 26.8584776788541 24.8187188780164  lineto 27.613095285785 25.5267544299469 23.6178437024771  lineto 28.1136947973559 24.1085708744623 22.2923100096811  lineto 28.4339739161336 22.9754030914004 21.2036449457755  lineto 28.6860619366173 21.8123307072374 20.0629154944333  lineto 28.8587879066051 20.6396684328268 18.8921526013447  lineto 28.9543545095771 19.1769420576525 17.4080526434621  lineto 28.9256874389233 17.9402905809731 16.1392276848947  lineto 28.7964397384038 16.7369535959344 14.8984403405773  lineto 28.4740647609923 15.178842598747 13.2890614920642  lineto 28.0396595799247 13.8139490982227 11.8849583909603  lineto 27.5572349495433 12.6663092209568 10.7158002479269  lineto 26.9031876060606 11.4180579485255 9.46205272296274  lineto 26.2187383107929 10.3337879547447 8.3931508654128  lineto 25.5721853201881 9.44569315687682 7.5352608205914  lineto 24.8274941399703 8.5403311817735 6.68033988730276  lineto 23.8309799117697 7.4752200721496 5.70457609554995  lineto 22.6973244173208 6.41548388491239 4.77180297324311  lineto 21.6648453932722 5.55870108952473 4.05002613354325  lineto 20.5222122662329 4.70763970567061 3.36531816397422  lineto 19.176886118708 3.81406775436307 2.68536157181606  lineto 17.7852119975068 2.99321826848491 2.10157246050737  lineto 16.2188433693116 2.17731078529356 1.56602858013991  lineto 14.8756887302874 1.55854853196929 1.19360372944604  lineto 13.5063538554358 0.996863558991667 0.883737355075768  lineto 12.1915432772087 0.518192667511568 0.645602204136921  lineto 10.9539907013275 0.118819382119946 0.461917377253852  lineto 9.34546905866964 -0.329297061621776 0.34801401426038  lineto 8.20283125802085 -0.600163526253146 0.420343988407828  lineto 6.8547266247433 -0.86941019941019 0.677727431776183  lineto 5.5074879980398 -1.08084882526307 1.13724527000356  lineto 4.60218069377732 -1.18683173583309 1.57480153521323  lineto 3.99184686557601 -1.23959973774277 1.93725545673265  lineto 3.50136700005168 -1.26957171563454 2.27371370274789  lineto 2.93451628107277 -1.28835952417896 2.72014175645562  lineto 2.3835036543552 -1.2874374639392 3.22381719423741  lineto 1.81898708624101 -1.262418748492 3.82765215620147  lineto 1.17592650164746 -1.19430804296707 4.66009795473488  lineto 0.595566015759134 -1.07824573295263 5.60927859363379  lineto 0.151727802431037 -0.930457123286189 6.54639752554328  lineto -0.179903257926339 -0.755020325932505 7.47857544495726  lineto -0.347786707039812 -0.616135812897732 8.13389619066293  lineto -0.568395604259396 -0.342485139327851 9.28222931197997  lineto -0.778688942271503 -5.95350484360666E-02 10.3246577200519  lineto -1.05812597871163 0.268546206788422 11.399110730291  lineto -1.35520208012312 0.588794676920656 12.340709792995  lineto -1.65155165103075 0.888024936248365 13.1439999381722  lineto -2.13118450924581 1.33821727501337 14.2391167030354  lineto -2.62021647671667 1.76570935739604 15.1742619887802  lineto -3.04905666838524 2.12123439766692 15.8857852006556  lineto -3.69124364630081 2.62787480797416 16.8089769449075  lineto -4.27733421207876 3.0689781712878 17.5356670617897  lineto -4.91122038882044 3.52779915928774 18.2234078976363  lineto -5.4625351039495 3.91412622686161 18.752638265511  lineto -6.2401615552938 4.44230816122822 19.407250153181  lineto -7.0276431080703 4.96065604056092 19.9773090630549  lineto -7.90980650437628 5.52546771192582 20.5220652840257  lineto -8.64522840081496 5.98643656564781 20.9109004915988  lineto -9.52586915229243 6.52900611409992 21.3074914854178  lineto -10.4555568677376 7.09222026808726 21.6520150017978  lineto -11.302751639474 7.59820392923629 21.905014712139  lineto -12.1590022463161 8.10414441632173 22.1061240953933  lineto -12.9812499848117 8.58617706178119 22.250740582034  lineto -13.9006449303021 9.12214100656968 22.3593061166673  lineto -14.7923824189124 9.64023605164626 22.413813596457  lineto -15.8306496954791 10.2428287314196 22.4168842557409  lineto -16.93281533845 10.8830414816427 22.3504455333282  lineto -17.9081915177627 11.4511584364422 22.2322515584339  lineto -18.9047439772722 12.0344568557007 22.0542054958145  lineto -19.8045510691816 12.5650783961138 21.8442202533678  lineto -20.7005106135914 13.0985450246647 21.5886511509722  lineto -21.5365685555818 13.6020705063016 21.307672392037  lineto -22.4049019691001 14.13177369068 20.970886311715  lineto -23.0269102952977 14.5159249893228 20.7004501832107  lineto -23.9711514353018 15.1075137177617 20.2415332113886  lineto -24.65513117232 15.5435590161194 19.8714358752911  lineto -25.7523542227012 16.2594423353754 19.2084859056307  lineto -26.6751762857198 16.8799435882941 18.5805821995258  lineto -27.4357003827498 17.4058277429619 18.010598954231  lineto -28.347617628249 18.056147708871 17.2583426069373  lineto -29.1035523115928 18.614164102887 16.5718010477335  lineto -29.9552157547759 19.267957959517 15.7227365686089  lineto -30.8429684817635 19.9843057623205 14.7418726122236  lineto -31.4489537176676 20.4976714774372 14.0073384875941  lineto -32.0637057469548 21.0422958577917 13.1995328017749  lineto -32.8010617329845 21.733748710215 12.1331206857008  lineto -33.1855680144214 22.1144082566306 11.5277893228006  lineto -33.5632481717643 22.5045520156766 10.895196384001  lineto -33.9183275033349 22.8885020132034 10.2614806467945  lineto -34.2568033332526 23.272578835153 9.61691739754884  lineto -34.6375812252386 23.7297012281036 8.83633616188353  lineto -35.016108782219 24.216093681116 7.99006651063322  lineto -35.3599490422404 24.6925448150219 7.14578907326058  lineto -35.6328219467329 25.1004196222258 6.41149066073231  lineto -35.924698460576 25.5748006369874 5.54567504384508  lineto -36.2173473258152 26.1040004368996 4.56714373734544  lineto -36.4575347143835 26.5949645264898 3.64855662656124  lineto -36.7242458648583 27.2331104182395 2.43877994637434  lineto -36.8974095487588 27.7346483377765 1.4792443859775  lineto -37.067835807097 28.3603509887491 0.271572931659741  lineto -37.1588806781036 28.8033088365052 -0.590679939322483  lineto -37.2520310118828 29.4286394824543 -1.81403976275953  lineto -37.3021481517572 29.994438178848 -2.92731621476863  lineto -37.3185939427754 30.5224859225125 -3.96828725881582  lineto -37.3105279491951 30.9533842525593 -4.81995904396369  lineto -37.2792369418361 31.4257178312864 -5.75590057696478  lineto -37.2297617738267 31.8587199907463 -6.61570741204702  lineto -37.1517203707988 32.338335491595 -7.56920570931215  lineto -37.048275454912 32.8221727913332 -8.53103514851603  lineto -36.9500118497359 33.2007764029253 -9.28308874519904  lineto -36.821784890847 33.6249910566903 -10.124916626578  lineto -36.5644160912996 34.3339518452415 -11.5296296839008  lineto -36.4030083175719 34.7166734603975 -12.2863272361948  lineto -36.1974983348365 35.1578196935817 -13.1563070047722  lineto -35.9493292294779 35.6396763980978 -14.1029826647482  lineto -35.7220676726349 36.0440026779207 -14.893900498804  lineto -35.4689830537952 36.4618759366223 -15.707594302931  lineto -35.1132296619273 37.003772900951 -16.7566123997158  lineto -34.7870573292 37.4634764863414 -17.6406155155876  lineto -34.476407382021 37.8745565982809 -18.4262899788528  lineto -34.0900743383497 38.35567571077 -19.3396866030877  lineto -33.6062281667924 38.9196664587946 -20.4008688495726  lineto -33.1140821039479 39.4578300353919 -21.4019857658095  lineto -32.6874469102207 39.9004042902346 -22.2159142791526  lineto -32.3713386806282 40.215786202649 -22.7906827364391  lineto -32.0085012494039 40.5659082187125 -23.4237425012589  lineto -31.6118895946662 40.9354511485578 -24.0861183019173  lineto -31.1542084530949 41.3465853826335 -24.8157678972682  lineto -30.7849491400398 41.6676740747355 -25.3798292856208  lineto -30.19736020459 42.1614301239976 -26.236459996625  lineto -29.7058950442891 42.5600152854926 -26.9178840731168  lineto -29.1971489751074 42.9602980642284 -27.5928028908913  lineto -28.5027562202036 43.4885611244602 -28.4686132469141  lineto -27.6934394482073 44.0807607632319 -29.4296931950189  lineto -27.1071250930003 44.4954445606055 -30.0894367757957  lineto -26.3840537780987 44.9917307368853 -30.8643640814629  lineto -25.7154049781411 45.4375646643347 -31.545995568848  lineto -25.0302568584345 45.8830521090446 -32.2123337858781  lineto -24.3411478367023 46.3207560748823 -32.8520185066415  lineto -23.5303148374925 46.8234666737983 -33.5681636161852  lineto -22.8595133523151 47.2299222976787 -34.1325325007875  lineto -21.6081133421315 47.9670802348555 -35.122056189737  lineto -20.3286628554925 48.6949114684332 -36.0556660600725  lineto -19.3116426190161 49.2581957733725 -36.7457994956119  lineto -18.5926022796656 49.6481898063252 -37.2075268629962  lineto -17.7399171141289 50.1190194748777 -37.7319587406711  lineto -16.9081964586133 50.6041861710061 -38.224630915555  lineto -16.196677546007 51.045611967016 -38.6334215655945  lineto -15.2800188135077 51.6502169168664 -39.1431691554504  lineto -14.3647255920878 52.2960217296181 -39.6342619183927  lineto -13.3407137328944 53.072655430974 -40.1644600106281  lineto -12.5818696558079 53.6878647106046 -40.545532906999  lineto -11.7800648420161 54.3774341613395 -40.938319536953  lineto -10.8480289441318 55.2344120946711 -41.3834473413775  lineto -10.1668386518509 55.9018402053194 -41.701997749195  lineto -9.50542526976608 56.5861507471398 -42.0068243603925  lineto -8.75368768837221 57.4113623347469 -42.3490879386657  lineto -8.02707286772938 58.2620256706303 -42.6768550634192  lineto -7.42998361041192 59.004477146477 -42.9449661182941  lineto -6.79783939898302 59.8381606486525 -43.2288716907829  lineto -6.18485793414732 60.6990906173422 -43.5056492805321  lineto -5.71171312538934 61.403446607283 -43.7213211957597  lineto -5.15108152207757 62.2890763232074 -43.9805585058287  lineto -4.66478293695942 63.1082411196233 -44.2099944013989  lineto -4.15262615777618 64.0301529315148 -44.4579336655147  lineto -3.67246404752763 64.9589390637047 -44.6982528759882  lineto -3.34469112907752 65.634852094229 -44.8679815793036  lineto -3.07049863055488 66.2304397603312 -45.0143872548155  lineto -2.71333439397087 67.0539134032386 -45.2125555292171  lineto -2.39251066058382 67.8476383163636 -45.3995325754245  lineto -2.05664642306477 68.7449034430345 -45.6068717444722  lineto -1.7549908218093 69.6220024551426 -45.8061072287813  lineto -1.51910677855417 70.366398973899 -45.9729330348676  lineto -1.25332942835784 71.2834882218822 -46.1759944183442  lineto -1.06871805009056 71.9828757834186 -46.3292833797841  lineto -0.832838552673927 72.9761722364565 -46.5452169520305  lineto -0.644215386887287 73.8814819621093 -46.7408493792612  lineto -0.507693122117409 74.6256713520219 -46.9010591923685  lineto -0.364272098222145 75.5289231825683 -47.0943388182258  lineto -0.250499996105642 76.3870325132025 -47.2763685044348  lineto -0.149815839169616 77.3330716391474 -47.4775607136282  lineto -9.51063049931934E-02 77.9841709296931 -47.6187358629345  lineto -0.050850011844197 78.6652848675389 -47.7667016129397  lineto -1.62361457212476E-02 79.4958316470878 -47.9368108593344  lineto -3.41262754335943E-03 80.1524451083256 -48.067662001738  lineto 1.08845374991663E-03 80.943986689815 -48.2760595230234  lineto 6.29773113744975E-04 81.5147438832444 -48.4669183596143  lineto -2.47102681269993E-04 82.2010710935434 -48.7002593647588  lineto -2.46987330835707E-05 82.970636712284 -48.9476838913621  lineto 1.25098819958149E-04 83.7476521910178 -49.198385170572  lineto 5.0515298183229E-05 84.4418257567639 -49.4248152945302  lineto -1.39043272801267E-05 85.2112746572803 -49.6755840086492  lineto 3.6996076363574E-07 85.8650546430565 -49.8878416861945  lineto 3.0403146819914E-06 86.638765601899 -50.1392041281419  lineto -1.35278968831521E-06 87.2480072139609 -50.3372105294385  lineto -1.49631168118277E-06 87.98493002376 -50.5766529573009  lineto 3.95808808572293E-08 88.6734927697353 -50.8003624449146  lineto 7.58249083768968E-08 89.4452264303404 -51.0511134841156  lineto -1.20800843037799E-07 90.216955807459 -51.3018658774372  lineto -2.11307114092648E-08 90.955823539833 -51.5419373813251  lineto 2.38848927717345E-08 91.768172319526 -51.8058849692515  lineto -1.76243196902772E-09 92.4625453036018 -52.0315007307333  lineto -6.85805969253173E-09 92.9866949240398 -52.2018073262729  lineto -3.21355736665964E-10 93.6423890479622 -52.4148551847607  lineto 3.3362749148708E-09 94.2922678681297 -52.6260135704645  lineto 2.41983928427252E-09 94.9054061078578 -52.82523427187  lineto 6.48907034352826E-11 95.6345813172576 -53.0621576871852  lineto -4.8604862349419E-10 96.1239288468032 -53.2211563443461  lineto -2.01506443828752E-10 96.77574607907 -53.4329445981061  lineto 3.72393822082521E-10 97.4701191731312 -53.6585600861051  lineto 4.64252035856895E-10 98.0793805485365 -53.8565211059967  lineto 3.57513776128219E-10 98.6480244981405 -54.0412847266438  lineto 3.0934471046582E-10 99.1334951638183 -54.1990237085511  lineto 3.2614619541384E-10 99.7079544143768 -54.3856768335555  lineto 2.93342158439783E-10 100.278536797782 -54.5710702880478  lineto 1.63078542340237E-10 101 -54.8054878926612  closefcsegment  closefc | In OCD-Coord.  Unit: mm |