Radiation Unit Param Table

|  |  |  |
| --- | --- | --- |
| Radiation Unit Type | 8 | Integer 1-99999999 |
| # of Outer Cups | 2 | Positive integer |
| Outer Cup Types | 3 2 | Must be positive integers 1-99, separated by space  [0 reserved for imaginary phantom outer cup] |
| # of Inner Cups associated with Outer Cup #1 | 9 | Positive integer |
| Associated Inner Cups of Outer Cup #1 | L01 L02 L03 L04 L05 L06 L07 L08 L09 | US-ASCII strings separated by space, each string must be alphanumeric and of length <= 31 |
| # of Inner Cups associated with Outer Cup #2 | 10 | Positive integer |
| Associated Inner Cups of Outer Cup #2 | M01 M02 M03 M04 M05 M06 M07 M08 M09 M10 | US-ASCII strings separated by space, each string must be alphanumeric and of length <= 31 |
| # of Inner Cups associated with Outer Cup #3 |  | Positive integer |
| Associated Inner Cups of Outer Cup #3 |  | US-ASCII strings separated by space, each string must be alphanumeric and of length <= 31 |
| # of Collimators | 2 | Positive integer |
| Collimator Sizes | 25 15 | Positive integers, separated by space |
| FocusRegionRadius | 75.0 | Unit: mm. |
| FocusRegionZMax | 21 | Unit: mm. In Couch Coord |
| FocusRegionZMin | -270.0 | Unit: mm. In Couch Coord |
| MinVelX MinVelY MinVelZ  MaxVelX MaxVelY MaxVelZ | -3.0 -3.0 -3.0  3.0 3.0 3.0 | Unit: mm/sec. Minimum and maximum focus velocity X/Y/Z in Couch Coord |
| MinAcclX MinAcclY MinAcclZ MaxAcclX MaxAcclY MaxAcclZ | -5.0 -5.0 -1.0  5.0 5.0 5.0 | Unit: mm/sec2. Minimum and maximum focus acceleration X/Y/Z in Couch Coord |
| MinCollimatorSwitchTime | 1 | Minimum collimator switching time in seconds |